## Slide 1: David Moss – Energising Britain
Hybrid ASHP & Gas,
St. Helen Alveston

## Slide 2: CONTEXT November 2019 Declaration Bristol Diocese

## Slide 3: Net Zero to be achieved by 2030 (set by General Synod of the Cof E in 2020)
Energy audits and grants
Fossil fuels out
Biodiversity in
Solar installations & decarbonization for all buildings
Gas out
Electricity in

## Slide 4: Timeline to Hybrid – Cost £75K Grants £40K Grant funding deadline 31-03-2025
2019 Energy report ESOS – continue with gas
2023 Heating replacement first considered
2023 Quotation Halos IR. National grid could not supply electricity
7/2024. New energy report ESOS – ASHP Air to Water
8/2024. Bristol Diocese another energy report Inspired Energy
8/2024 Inspired energy suggest Air to Air. Planners say “No” Grade 2
9/2024 Heating engineers suggest Bosch ASHP
10/2024 Bosch survey not enough power for AHSP alone hybrid system
1/2025 Planning obtained but National Grid said no to Bosch ASHP
1/2025. Bosch referred us to Viessmann ASHP National grid Yes
2/2025. Viessmann ASHP taken of the market, other ASHP cost £90K
3/2025. Viessmann supplies 2 ASHPs commission 4/4/2025

## Slide 5: Lessons learnt
Don’t be too idealistic
Don’t be put off by the hurdles
Be open to new ideas.
Green gas is on the way
Hold onto the vision

## Slide 6: Old System 90,000KWH Gas New System 11,451 KWH Gas 17,567 KWH Electric